## Sheet1
Based on the stakeholders' requirements, existing solutions for HVAC control, the team identified system requirements for the HVAC control system.
stakeholder requirement | System Requirement | System Requirement Derivative | Classification
Monitor and adjust temperature | Collect temperature data for display and computation | Temperature Sensor | Must to have
Monitor humidity | Collect humidity data for display and computation | Humidity Sensor | Must to have
Monitor and adjust CO2-level | Collect CO2-level data for display and computation | CO2 Sensor | Must to have
Easeof use, Accesibility | Provide UI to interact with user | Touchscreen | Must to have
Ease of use | UI reaction logic, Communication with sensors, Data caculation, HVAC control signal output. | Microcontroller | Must to have
Adjust indoor environment, Compatibility with exiting HVAC system, Ease of deployment | Connect to HVAC contorller | 4-Channel Relay Module | Must to have
Adjust humidity | Increase air humidity | Humidifier | Nice to have
Ease of use | Change the configuration of indor temperature according to time. | Miccrocontroller | Nice to have
Enery saving, Easy of use | Close HVAC system when room is not occupied for a period of time. | Motion Sensor | Nice to have
Ease of use | Collect weather information from internet | WIFI module, weather forecast website | Desirable
Accessibility, Ease of use | To tell information and setting about HVAC system using voice for blind people or people in dark room. | WIFI module, Voice interaction server | Desirable
Cost of implementation | Give user access to get information and setting HVAC system by website. | WIFI module, Website | Desirable
Ease of use | Give user access to get information and setting HVAC system by mobilephone. | WIFI module, Apps | Desirable