## Slide 1: SFM
Smart facility management

## Slide 2: Smart Facility Management

## Slide 3: Project management

## Slide 4: Taxonomy

## Slide 5: WBS

## Slide 6: GANNT

## Slide 7: Risk management

## Slide 8: SFM introduction

## Slide 9: Opportunity (Study case)

## Slide 10: Current HVAC

## Slide 11: Stakeholders

## Slide 12: Survey analysis

## Slide 13: CONOPS
PUT SYSTEM OVERVIEW

## Slide 14: Design concepts
State the three design concepts
PUT Selection matrixes

## Slide 15: System requirement
Stakeholder Requirement | System Requirement | COTS | Classification
Monitor and adjust temperature | Collect temperature data for display and computation | Temperature Sensor, Microcontroller | Must to have
Monitor humidity | Collect humidity data for display and computation | Humidity Sensor, Microcontroller | Must to have
Monitor and adjust CO2-level | Collect CO2-level data for display and computation | CO2 Sensor, Microcontroller | Must to have
Ease of use, Accessibility | Provide UI to interact with user | Touchscreen, Microcontroller | Must to have
Ease of use | UI reaction logic, Communication with sensors, Data calculation, HVAC control signal output. | Microcontroller | Must to have
Adjust indoor environment, Compatibility with existing HVAC system, Ease of deployment | Connect to HVAC controller | 4-Channel Relay Module | Must to have

## Slide 16: System requirement
Stakeholder Requirement | System Requirement | COTS | Classification
Adjust humidity | Increase air humidity | Humidifier | Nice to have
Ease of use | Change the configuration of indoor temperature according to time. | Microcontroller | Nice to have
Energy saving, Ease of use | Automatically switch to economy mode | Motion Sensor | Nice to have
Ease of use | Collect weather information from internet | WIFI module, Weather forecast website | Desirable
Accessibility, Ease of use | To tell information and setting about HVAC system using voice for blind people or people in dark room. | WIFI module, Voice interaction server | Desirable
Cost of implementation | Give user access to get information and setting HVAC system by website. | WIFI module, Website | Desirable
Ease of use | Give user access to get information and setting HVAC system by mobile phone. | WIFI module, Apps | Desirable

## Slide 17: Functional analysis

## Slide 18: Function Block Diagram

## Slide 19: Function Block Diagram

## Slide 20: IDEF0

## Slide 21: User Interface

## Slide 22: User Interface

## Slide 23: HW block diagram
PUT system overview of HW blocks

## Slide 24: Bill of materials (BoM)
PUT BoM table

## Slide 25: Documents
PM
BRR
SRR
CONOPS
SDR
PDR
CDR

## Slide 26: Summary

## Slide 27: References